ODISHA GRAMYA BANK

General Administration Department

Head Office, Gandamunda, P.O.-Khandagiri, Bhubaneswar

RFP Ref. No. OGB/RFP/GAD/INVERTER/001/17-18, Amendment_1 Date: 02-04-2018

AMENDMENT_1: REQUEST FOR PROPOSAL (RFP) FOR THE PROCUREMENT, INSTALLATION AND MAINTENANCE OF INVERTOR AT BANK BRANCHES

Below is the result of Point of Discussion during Pre-Bid Meeting dated 29-03-2018 and Amendments to the RFP Ref. No. OGB/RFP/GAD/INVERTER/001/17-18 Dated: 15-03-2018

| Sl No | Page No | Clause | Suggestion/Remarks/ Queries | Bank's Remark / Amendment |
| --- | --- | --- | --- | --- |
| 1 | 3 | 27. The tenderer must have executed a minimum of 3 INVERTER projects of not less than 25 lakhs (each referral) in last three years. Proof of same must be enclosed. | The tenderer (Bidder) must have executed one (01) UPS or INVERTER project of not less than 75 lakhs or two (02) UPS or INVERTER projects of not less than 37.5 lakhs or three (03) UPS of INVERTER projects of not less than 25 lakhs (each referral) in last three years. | The tenderer (Bidder) must have executed a minimum of 2 INVERTER and(or) ups (except online UPS) projects of not less than 200 units (in cumulative) in last three years. Proof of the same must be enclosed. |
| 2 | 7 | The successful bidder/supplier would be required to complete the delivery, testing and installation of the items listed in the Schedule of Quantities as per specification indicated within 3 weeks from the 7th day of receipt of Purchase Order. | --- | The successful bidder/supplier would be required to complete the delivery, testing and installation of the items listed in the Schedule of Quantities as per specification indicated within 4 weeks from the 7th day of receipt of Purchase Order. |
| 3 | 13 | All the inverters will stand for a minimum of two years on site all comprehensive warranty against all manufacturing defects. All the batteries will stand for a minimum of four years on site all comprehensive warranty against all manufacturing defects. | ---- | All the inverters will stand for a minimum of Four years on site all comprehensive warranty against all manufacturing defects. All the batteries will stand for a minimum of Four years on site all comprehensive warranty against all manufacturing defects. |
| 4 | * | Bid Cost |  | All bidder has to submit a sum of Rs.5000/- (Rupees Five Thousand only) in form of Demand Draft drawn in favor of Odisha Gramya Bank, from any Scheduled Bank of India. The Bid cost and EMD should be submitted to the bank along with technical bid. |
| 5 |  | EMD & Tender fee exemption | EMD & Tender fee exemption to local MSEs registered under DIC/NSIC (Single Point) | The EMD cost will be exempted for bidders who can produce valid NSIC/DIC certificate as per acceptable exemption criteria of this RFP. No exemption would be provided for Bid Cost. |
| 6 | Annexure III | TECHNICAL SPECIFICATIONS REQUIRED FOR THE INVERTER | ---- | Make: Lumious/Numeric/Exide/Su-Kam/Microtec/Any Reputed as per our criteria Output Voltage: 220-240 VAC Input Voltage: 90V – 250V AC Output Wave form: Pure Sine Wave Inverter Transformer Type: Copper Output Efficiency: 80-90% System Voltage: 24 V DC Inverter cooling: Air Cooling with fans Display: Digital Input / Output protection with Suitable MCB Years Of Warranty: 4 Years Full Warranty |
| 7 | Annexure III | TECHNICAL SPECIFICATIONS REQUIRED FOR THE BATTERY | ---- | Make: Exide/Lumious/Amarraja/SFSonic/Microtek/HBL/Panasonic/Any Reputed brand as per our criteria Type of battery: SMF-VRLA Years Of Warranty: 4 Years Full Warranty |
| 8 | All doc | Full load | ----- | Max load will be minimum of 1500 VA (1.5 KVA). |
| 9 | All Doc | Installation requirement | ----- | The Bidder has to provide all kind of items like electric cables, MCBs, plugs etc required for installation and operation of Inverter. Bank will not pay extra money for any kind of accessories required. |
| 10 | All Docs | Cabinet for batteries | --- | Bidder has to provide metal trolley or stand to keep batteries and Inverter. |
| 11 | 2 | 7.Pre-Bid Conference: A pre-Bid meeting will be held at Head Office of Odisha Gramya Bank as per Sl No.3 of schedule of bidding process mentioned above. The prospective bidders have to attend the meeting for clarification regarding the requirements of the Bank. Vendors failing to attend the pre-bid meeting will not be eligible to bid. The intended bidder are to submit an integrity Pact (format enclosed) signed by authorized person along with other tender documents. |  | Vendors failing to attend the pre-bid meeting will be eligible to bid. |

  - NEW SCHEDULE OF BIDDING PROCESS:

| S.No | Description of Information/ Requirement | Information / Requirement |
| --- | --- | --- |
| 1. | Tender Reference Number | OGB/RFP/GAD/INVERTOR /001/17-18 |
| 2. | Date of Issue of RFP | 15th March 2018 |
| 3. | Pre Bid Meeting | 29th March 2018 2.30 PM |
| 4. | Last Date and Time for submission of bids along with supporting documents through the above | 17th April 2018 - 05 P.M. |
| 5. | Bid Submission Mode. | Through manual Tendering process |
| 6. | Date, time and venue for opening the technical bid. | 18th April 2018, 11.00 A.M. |
| 7. | Date, time and venue for opening the commercial bid | Will be intimated to technically short-listed bidders. |
| 8. | Name of contact officials for any enquiries. | Mr. J P Nayak ,GM, Mob.No.9681611177 Mr.R M Pattanaik, Mob No.9937480717 |
| 10 | Address for Communication / Submission of Bids | The General Manager, General Administration Department Odisha Gramya Bank, Head Office, AT- Gandamunda, P.O.- Khandagiri, Bhubaneswar – 751030. |
| 11. | Contact number for any clarification. | 0674-2353009/ 0674-2353041 |
| 12. | Contact e-mail ID | gad@odishabank.in |

Note: - Technical bids will be opened in the presence of bidders who choose to attend as above. The above schedule is subject to change. Notice of any changes will be published on Bank‘s website (www.odishabank.in) wherever feasible. Further, please note that commercial bid opening date, time will be intimated to the technically qualified bidders at a later date.